# IBIPC PRODUCT LIBRARY — STRUCTURE & REVIEW REPORT

Структура библиотеки и отчёт для проверки · Deliverable 1 (Full Catalog Decomposition)

Source: PRODUCT LINE OF IBIPC 2026 EN-1_260818_180145.pdf · 48 pages · SHA-256 43123e1c5ee50d5b… · Status: DRAFT FOR HUMAN REVIEW · 2026-10-16

Pipeline: PDF SOURCE → MASTER INVENTORY → HUMAN REVIEW → VALIDATED JSON → 3D LIBRARY → W-FORTEX CONFIGURATOR. 3D-моделирование не начато; JSON к конфигуратору не подключён.

# 1. Summary / Сводка

| Metric | Value |
| --- | --- |
| catalog_pages | 48 |
| catalog_pages_covered | 48 |
| total_records_products | 73 |
| unique_products_with_source_page | 66 |
| listed_only_placeholders | 7 |
| total_variants | 36 |
| complete_assemblies | 16 |
| individual_components | 23 |
| technical_equipment | 27 |
| templates | 1 |
| material_records | 13 |
| appearance_options | 9 |
| evidence_records | 17 |
| discrepancies_open | 24 |
| geometry_complete | 17 |
| geometry_partial | 15 |
| geometry_envelope_only | 30 |
| geometry_none | 11 |
| engineer_review_required_products | 27 |
| engineer_review_required_variants | 23 |

# 2. Proposed Category Tree / Дерево категорий

IBIPC › Barriers  (CAT-BAR) — Urban / perimeter safety barriers (benches, seats, flower boxes)

Safety Barriers / Urban Protection: IBIPC-BAR-001 Ballistic Concrete Bench, IBIPC-BAR-002 Ballistic Concrete Flower Box, IBIPC-BAR-003 Ground-based plate (Flower Box base), IBIPC-BAR-004 Ballistic Seat

Litter Bins: IBIPC-BAR-005 BLAST RESISTANT MOBILE LITTER BINS

IBIPC › Ballistic Walls  (CAT-WAL) — Стены и мобильные T-стены

Ballistic Wall Systems: IBIPC-WAL-001 Ballistic Wall

Mobile T-Walls: IBIPC-WAL-002 Mobile T-Wall

IBIPC › Roadblocks  (CAT-RDB) — Restraint systems / заграждения

Concrete Pyramids: IBIPC-RDB-001 Concrete Pyramid

Mobile Roadblock STING: IBIPC-RDB-002 Mobile Roadblock STING

Accessories: IBIPC-RDB-010 Ship's shackle, IBIPC-RDB-011 Nautical anchor chain

IBIPC › Structural Components  (CAT-STR) — Универсальный сегмент, крышки, швы, проёмы, плиты усиления

Universal Construction System: IBIPC-STR-001 Universal Construction Segment

Lids / End Walls: IBIPC-STR-010 End Lid I – door, IBIPC-STR-011 End Lid II – slit / embrasure, IBIPC-STR-017 Safety partition (Ammo Depot / Command Bunker)

Joints / Seals: IBIPC-STR-012 Rubber seal (segment joint)

Openings / Embrasures / Slits: IBIPC-STR-013 Stepped embrasure (±28°), IBIPC-STR-014 Observation slit, IBIPC-STR-015 Escape hatch / emergency exit, IBIPC-STR-016 Pass-through opening Ø50 mm

Building Reinforcement: IBIPC-STR-020 Ballistic Plate

IBIPC › Bunkers  (CAT-BNK) — Тактические и стратегические бункеры (сборки)

Tactical Level: IBIPC-BNK-001 Checkpoint, IBIPC-BNK-002 Mobile Bunker, IBIPC-BNK-003 Basic Infantry Bunker, IBIPC-BNK-004 Extended Infantry Bunker – 4 riflemen, IBIPC-BNK-005 Extended Infantry Bunker – 8 riflemen, IBIPC-BNK-006 Inter-Operational Ammunition Depot, IBIPC-BNK-007 Ammo Bunker / Operative Ammunition Bunker, IBIPC-BNK-008 Medic Bunker

Operational Level: IBIPC-BNK-011 Command Bunker, IBIPC-BNK-020 PANIC ROOM, IBIPC-BNK-021 MILITARY DEFENSE BUNKER, IBIPC-BNK-022 INVACUATION BUNKER, IBIPC-BNK-023 Emergency Shelter, IBIPC-BNK-024 Hardened safety bunker

Strategic Level: IBIPC-BNK-009 Class A Hardened Infantry Bunker, IBIPC-BNK-010 Class B Hardened Infantry Bunker

IBIPC › Shelters  (CAT-SHL) — Укрытия для персонала и гражданской обороны

Underground Shelters: IBIPC-SHL-001 Underground Shelter

Civil Defence Shelters: IBIPC-SHL-002 Civil Defence Shelter

Hardened Aircraft Shelters: IBIPC-SHL-003 Hardened Aircraft Shelter

IBIPC › Complete Systems  (CAT-SYS) — Технические комплексы и проектные шаблоны

Power Supply Bunkers: IBIPC-SYS-001 Bunker for Generators or Cogeneration Units

Data / IT: IBIPC-SYS-003 MODULAR CONTAINER DATA CENTERS

Project-Specific Templates: IBIPC-SYS-002 Custom-Made Bunker Casting

IBIPC › Doors  (CAT-DOR) — Баллистические и решётчатые двери

Ballistic Doors: IBIPC-DOR-001 Sandwich Ballistic-Resistant Door

Barred Doors: IBIPC-DOR-002 Barred Door

IBIPC › Cable Protection  (CAT-CAB) — Тоннели для защиты кабелей

Cable Tunnels: IBIPC-CAB-001 Cable Protection Tunnel

IBIPC › Ventilation / CBRN  (CAT-VEN) — Фильтровентиляционные установки и фильтры

Filter-Ventilation Units: IBIPC-VEN-001 Firbach 50, IBIPC-VEN-002 Firbach 100, IBIPC-VEN-003 Firbach 300, IBIPC-VEN-004 FV-400 air filter-ventilation unit

Filters: IBIPC-VEN-005 NANOPASARAN FILTER – CBRN PROTECTION

Modular Ventilation: IBIPC-VEN-006 Modular system of air ventilation and CBRN filtration

IBIPC › Technical Components  (CAT-TEC) — Отдельные технические компоненты и оборудование-прокси

Robust Components: IBIPC-TEC-001 HPF coarse dust filter, IBIPC-TEC-002 Liquid column air pressure manometer, IBIPC-TEC-003 Robust gas-tight valve / regulatory flap – TEMP-A (square flange), IBIPC-TEC-004 Robust gas-tight valve / regulatory flap – TEMP-B (round flange, lever), IBIPC-TEC-005 Robust gas-tight valve / regulatory flap – TEMP-C (handwheel), IBIPC-TEC-006 Centrifugal fan VA 300, IBIPC-TEC-007 Air mass flow meter

Power / Energy: IBIPC-TEC-014 Battery, IBIPC-TEC-015 Generator, IBIPC-TEC-016 Cogeneration unit

Water / Sanitary: IBIPC-TEC-017 Stainless steel water tank, IBIPC-TEC-018 Chemical WC

Air Handling Parts: IBIPC-TEC-008 Anti-blast valve / overpressure valve, IBIPC-TEC-009 Depressurized shut-off valve with ballistic protection, IBIPC-TEC-010 Damper, IBIPC-TEC-011 Ventilator (6,000 m³/h fan), IBIPC-TEC-012 Intake / exhaust filter (G3 / EU3), IBIPC-TEC-013 Exhaust muffler

Glazing: IBIPC-TEC-019 Bullet-proof glass slit (frame + glass + glass retainer)

Access / Interior: IBIPC-TEC-020 Ladder (escape), IBIPC-TEC-021 Storage (supplies)

IBIPC › Materials  (CAT-MAT) — Материалы (без геометрии)

Concrete / UHPFRC: —

Armor Steel: —

Other: —

# 3. Full Product List / Полный список изделий

| IBIPC_ID | Official name (catalog) | Cat. No. | Type | Model type | Geometry | Pages | Review |
| --- | --- | --- | --- | --- | --- | --- | --- |
| IBIPC-BAR-001 | BALLISTIC CONCRETE BENCHES | 01 (BALLISTIC BENCH.) | COMPONENT | EXACT_PARAMETRIC_COMPONENT | COMPLETE | 7, 5 | PENDING_HUMAN_REVIEW |
| IBIPC-BAR-002 | BALLISTIC CONCRETE FLOWER BOXES | 03 (FLOWER BOX.) | COMPONENT | EXACT_PARAMETRIC_COMPONENT | COMPLETE | 8, 5 | PENDING_HUMAN_REVIEW |
| IBIPC-BAR-003 | Ground-based plate (Flower Box base) | — | COMPONENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 8 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-BAR-004 | BALLISTIC SEATS | 02 (BALLISTIC SEAT.) | COMPONENT | EXACT_PARAMETRIC_COMPONENT | COMPLETE | 9, 5 | PENDING_HUMAN_REVIEW |
| IBIPC-BAR-005 | BLAST RESISTANT MOBILE LITTER BINS | 08 | COMPONENT | NO_SOURCE_GEOMETRY_LISTED_ONLY | NONE | 5 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-WAL-001 | BALLISTIC WALLS | 04 (BALISTIC WALL.) | ASSEMBLY | PARTIAL_ENGINEERING_MODEL | PARTIAL | 10, 5 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-WAL-002 | MOBILE T - WALLS | 05 (BALLISTIC MOBILE T-WALL.) | COMPONENT | EXACT_PARAMETRIC_COMPONENT | COMPLETE | 32, 5 | PENDING_HUMAN_REVIEW |
| IBIPC-RDB-001 | CONCRETE PYRAMID | 06 (MOBILE ROADBLOCK - PYRAMID.) | COMPONENT | EXACT_PARAMETRIC_COMPONENT | COMPLETE | 35, 5 | PENDING_HUMAN_REVIEW |
| IBIPC-RDB-002 | MOBILE ROADBLOCK – STING | 07 (MOBILE ROADBLOCK - STING.) | COMPONENT | PARTIAL_ENGINEERING_MODEL | PARTIAL | 36, 5, 43 | PENDING_HUMAN_REVIEW |
| IBIPC-RDB-010 | Ship's shackle | — | ACCESSORY | CONCEPT_ENVELOPE_MODEL | NONE | 35 | PENDING_HUMAN_REVIEW |
| IBIPC-RDB-011 | Nautical anchor chain | — | ACCESSORY | CONCEPT_ENVELOPE_MODEL | NONE | 35 | PENDING_HUMAN_REVIEW |
| IBIPC-STR-001 | UNIVERSAL CONSTRUCTION SEGMENT | — | COMPONENT | EXACT_PARAMETRIC_COMPONENT | COMPLETE | 11, 44, 42 | PENDING_HUMAN_REVIEW |
| IBIPC-STR-010 | End Lid with door opening (LID I) | — | COMPONENT | PARTIAL_ENGINEERING_MODEL | PARTIAL | 12, 13, 27 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-STR-011 | End Lid with observation slit / embrasure (LID II) | — | COMPONENT | PARTIAL_ENGINEERING_MODEL | PARTIAL | 12, 13, 27 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-STR-012 | Rubber seal (segment joint) | — | COMPONENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 11 | PENDING_HUMAN_REVIEW |
| IBIPC-STR-013 | Stepped embrasure (±28°) | — | OPENING_FEATURE | PARTIAL_ENGINEERING_MODEL | PARTIAL | 12, 13, 14, 15, 16, 32 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-STR-014 | Observation slit | — | OPENING_FEATURE | PARTIAL_ENGINEERING_MODEL | PARTIAL | 12, 13, 14, 15, 16 | PENDING_HUMAN_REVIEW |
| IBIPC-STR-015 | Escape hatch / emergency exit | — | OPENING_FEATURE | PARTIAL_ENGINEERING_MODEL | PARTIAL | 13, 22, 27 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-STR-016 | Pass-through opening Ø50 mm | — | OPENING_FEATURE | EXACT_PARAMETRIC_COMPONENT | COMPLETE | 12, 13, 27 | PENDING_HUMAN_REVIEW |
| IBIPC-STR-017 | Safety partition (Ammo Depot / Command Bunker) | — | COMPONENT | PARTIAL_ENGINEERING_MODEL | PARTIAL | 17, 28 | PENDING_HUMAN_REVIEW |
| IBIPC-STR-020 | BALISTIC PLATES | 09 (BALLISTIC SHIELDS TO REINFORCE THE BUILDING.) | COMPONENT | EXACT_PARAMETRIC_COMPONENT | COMPLETE | 34, 5 | PENDING_HUMAN_REVIEW |
| IBIPC-CAB-001 | TUNNELS TO PROTECT HIGH PRIORITY CABLES | 10 (TUNNELS TO PROTECT HIGH PRIORITY CABLES.) | COMPONENT | PARTIAL_ENGINEERING_MODEL | PARTIAL | 33, 5 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-DOR-001 | SANDWICH BALLISTIC-RESISTANT DOORS. ARMORED AND CAST IN UHPFRC. | — | COMPONENT | EXACT_PARAMETRIC_COMPONENT | COMPLETE | 20 | PENDING_HUMAN_REVIEW |
| IBIPC-DOR-002 | Barred doors made of high strength steel (OPENABLE DOOR WITH BAR) | — | COMPONENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 22 | PENDING_HUMAN_REVIEW |
| IBIPC-BNK-001 | CHECKPOINTS | 11 (CHECKPOINT.) | ASSEMBLY | EXACT_ASSEMBLY | COMPLETE | 12, 5 | PENDING_HUMAN_REVIEW |
| IBIPC-BNK-002 | MOBILE BUNKERS | 12 (MOBIL BUNKER.) | ASSEMBLY | EXACT_ASSEMBLY | COMPLETE | 13, 5 | PENDING_HUMAN_REVIEW |
| IBIPC-BNK-003 | BASIC INFANTRY BUNKER. FOR THREE RIFLEMEN, TO PROTECT A SIX-MAN SQUAD. | 13 | ASSEMBLY | EXACT_ASSEMBLY | COMPLETE | 14, 5 | PENDING_HUMAN_REVIEW |
| IBIPC-BNK-004 | EXTENDED INFANTRY BUNKER. FOR FOUR RIFLEMEN, TO PROTECT A 10-MAN SQUAD. | 14 | ASSEMBLY | EXACT_ASSEMBLY | COMPLETE | 15, 5 | PENDING_HUMAN_REVIEW |
| IBIPC-BNK-005 | EXTENDED INFANTRY BUNKER. FOR EIGHT RIFLEMEN, TO PROTECT A 10-MAN SQUAD. | 15 (EXTENDED INFANTRY BUNKER FOR SQUAD.) | ASSEMBLY | EXACT_ASSEMBLY | COMPLETE | 16, 5 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-BNK-006 | INTER-OPERATIONAL AMMUNITION DEPOT. TO STORE AMMO AT TRANSSHIPMENT POINTS. | 16 (INTER-OPERATIVE AMMUNITION BUNKER.) | ASSEMBLY | EXACT_ASSEMBLY | PARTIAL | 17, 5 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-BNK-007 | AMMO BUNKER. | 18 (OPERATIVE AMMUNITION BUNKER.) | ASSEMBLY | EXACT_ASSEMBLY | COMPLETE | 18, 5 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-BNK-008 | MEDIC BUNKER. | 17 | ASSEMBLY | EXACT_ASSEMBLY | COMPLETE | 19, 5 | PENDING_HUMAN_REVIEW |
| IBIPC-BNK-009 | CLASS A HARDENED INFANTRY BUNKER. TO CONDUCT COMBAT OPERATIONS. | 27 | ASSEMBLY | PARTIAL_ENGINEERING_MODEL | PARTIAL | 24, 26, 5 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-BNK-010 | CLASS B HARDENED INFANTRY BUNKER. PERSONNEL PROTECTION. | 28 | ASSEMBLY | PARTIAL_ENGINEERING_MODEL | PARTIAL | 25, 26, 5 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-BNK-011 | COMMAND BUNKER. LEADING TACTICAL - OPERATIONAL CONTROL STATION. | 20 (COMMAND BUNKER.) — дубль номера | ASSEMBLY | EXACT_ASSEMBLY | PARTIAL | 28, 5 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-BNK-020 | PANIC ROOM | 10 (дубль) | ASSEMBLY | NO_SOURCE_GEOMETRY_LISTED_ONLY | NONE | 5 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-BNK-021 | MILITARY DEFENSE BUNKER | 21 | ASSEMBLY | NO_SOURCE_GEOMETRY_LISTED_ONLY | NONE | 5 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-BNK-022 | INVACUATION BUNKER | 23 | ASSEMBLY | NO_SOURCE_GEOMETRY_LISTED_ONLY | NONE | 5, 38 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-BNK-023 | Emergency Shelter | — | ASSEMBLY | NO_SOURCE_GEOMETRY_LISTED_ONLY | NONE | 38 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-BNK-024 | Hardened safety bunker | — | ASSEMBLY | NO_SOURCE_GEOMETRY_LISTED_ONLY | NONE | 38 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-SHL-001 | UNDERGROUND SHELTERS. | 19 (UNDERGROUND BUNKER.) | ASSEMBLY | PARTIAL_ENGINEERING_MODEL | PARTIAL | 22, 5 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-SHL-002 | CIVIL DEFENCE SHELTERS. | 20 (CIVIL DEFENSE SHELTER.) | ASSEMBLY | EXACT_ASSEMBLY | COMPLETE | 27, 5 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-SHL-003 | HARDENED AIRCRAFT SHELTERS. | — | ASSEMBLY | CONCEPT_ENVELOPE_MODEL | NONE | 29, 5 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-SYS-001 | BUNKER FOR GENERATORS OR COGENERATION UNITS. SITE FOR SECURE POWER DELIVERY. | 24 / 25 | ASSEMBLY | EXACT_ASSEMBLY | PARTIAL | 23, 5 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-SYS-002 | CUSTOM-MADE BUNKER CASTING. INTO REINFORCEMENT BY THE PROJECT. | 26 | TEMPLATE | PROJECT_SPECIFIC_TEMPLATE | NONE | 21, 5 | PENDING_HUMAN_REVIEW |
| IBIPC-SYS-003 | MODULAR CONTAINER DATA CENTERS | 22 | ASSEMBLY | NO_SOURCE_GEOMETRY_LISTED_ONLY | NONE | 5 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-VEN-001 | Firbach 50 | — | TECHNICAL_EQUIPMENT | EXACT_PARAMETRIC_COMPONENT | ENVELOPE_ONLY | 31 | PENDING_HUMAN_REVIEW |
| IBIPC-VEN-002 | Firbach 100 | — | TECHNICAL_EQUIPMENT | EXACT_PARAMETRIC_COMPONENT | ENVELOPE_ONLY | 22, 30 | PENDING_HUMAN_REVIEW |
| IBIPC-VEN-003 | Firbach 300 | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 30 | PENDING_HUMAN_REVIEW |
| IBIPC-VEN-004 | FV-400 air filter-ventilation unit | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 31 | PENDING_HUMAN_REVIEW |
| IBIPC-VEN-005 | NANOPASARAN FILTER – CBRN PROTECTION | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 30, 31 | PENDING_HUMAN_REVIEW |
| IBIPC-VEN-006 | Modular system of air ventilation and CBRN filtration | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 30 | PENDING_HUMAN_REVIEW |
| IBIPC-TEC-001 | HPF coarse dust filter | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 31 | PENDING_HUMAN_REVIEW |
| IBIPC-TEC-002 | Liquid column air pressure manometer | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 31 | PENDING_HUMAN_REVIEW |
| IBIPC-TEC-003 | Robust gas-tight valve / regulatory flap – TEMP-A (square flange) | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 31 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-TEC-004 | Robust gas-tight valve / regulatory flap – TEMP-B (round flange, lever) | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 31 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-TEC-005 | Robust gas-tight valve / regulatory flap – TEMP-C (handwheel) | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 31 | ENGINEER_REVIEW_REQUIRED |
| IBIPC-TEC-006 | Centrifugal fan VA 300 | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 31 | PENDING_HUMAN_REVIEW |
| IBIPC-TEC-007 | Air mass flow meter | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 31 | PENDING_HUMAN_REVIEW |
| IBIPC-TEC-008 | Anti-blast valve / overpressure valve | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 22, 25 | PENDING_HUMAN_REVIEW |
| IBIPC-TEC-009 | Depressurized shut-off valve with ballistic protection | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 23 | PENDING_HUMAN_REVIEW |
| IBIPC-TEC-010 | Damper | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 23 | PENDING_HUMAN_REVIEW |
| IBIPC-TEC-011 | Ventilator (6,000 m³/h fan) | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 23 | PENDING_HUMAN_REVIEW |
| IBIPC-TEC-012 | Intake / exhaust filter (G3 / EU3) | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 23 | PENDING_HUMAN_REVIEW |
| IBIPC-TEC-013 | Exhaust muffler | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 23 | PENDING_HUMAN_REVIEW |
| IBIPC-TEC-014 | Battery | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 22 | PENDING_HUMAN_REVIEW |
| IBIPC-TEC-015 | Generator | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 22, 23 | PENDING_HUMAN_REVIEW |
| IBIPC-TEC-016 | Cogeneration unit | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 23 | PENDING_HUMAN_REVIEW |
| IBIPC-TEC-017 | Stainless steel water tank | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 22 | PENDING_HUMAN_REVIEW |
| IBIPC-TEC-018 | Chemical WC | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 28 | PENDING_HUMAN_REVIEW |
| IBIPC-TEC-019 | Bullet-proof glass slit (frame + glass + glass retainer) | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 32, 4 | PENDING_HUMAN_REVIEW |
| IBIPC-TEC-020 | Ladder (escape) | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 22 | PENDING_HUMAN_REVIEW |
| IBIPC-TEC-021 | Storage (supplies) | — | TECHNICAL_EQUIPMENT | CONCEPT_ENVELOPE_MODEL | ENVELOPE_ONLY | 22 | PENDING_HUMAN_REVIEW |

# 4. Assemblies / Сборки

IBIPC-BNK-001 — CHECKPOINTS

segment_01: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

end_lid_door: IBIPC-STR-010 End Lid with door opening (LID I) × 1 [CATALOG_CONFIRMED]

end_lid_slit: IBIPC-STR-011 End Lid with observation slit / embrasure (LID II) × 1 [CATALOG_CONFIRMED]

joint_seal: IBIPC-STR-012 Rubber seal (segment joint) × 2 [DERIVED]

ballistic_door: IBIPC-DOR-001 SANDWICH BALLISTIC-RESISTANT DOORS. ARMORED AND CAST IN UHPFRC. × 1 [CATALOG_CONFIRMED]

ballistic_glass_slit: IBIPC-TEC-019 Bullet-proof glass slit (frame + glass + glass retainer) × 1 [ENGINEER_REVIEW_REQUIRED]

embrasure: IBIPC-STR-013 Stepped embrasure (±28°) × 1 [CATALOG_CONFIRMED]

pass_through: IBIPC-STR-016 Pass-through opening Ø50 mm × 1 [CATALOG_CONFIRMED]

IBIPC-BNK-002-2S — 2-segment arrangement

segment_01: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

segment_02: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

end_lid_door: IBIPC-STR-010 End Lid with door opening (LID I) × 1 [CATALOG_CONFIRMED]

end_lid_slit: IBIPC-STR-011 End Lid with observation slit / embrasure (LID II) × 1 [CATALOG_CONFIRMED]

joint_seal: IBIPC-STR-012 Rubber seal (segment joint) × 3 [DERIVED]

ballistic_door: IBIPC-DOR-001 SANDWICH BALLISTIC-RESISTANT DOORS. ARMORED AND CAST IN UHPFRC. × 1 [CATALOG_CONFIRMED]

escape_hatch: IBIPC-STR-015 Escape hatch / emergency exit × 1 [CATALOG_CONFIRMED]

embrasure: IBIPC-STR-013 Stepped embrasure (±28°) × ? [ENGINEER_REVIEW_REQUIRED]

observation_slit: IBIPC-STR-014 Observation slit × ? [ENGINEER_REVIEW_REQUIRED]

filter_ventilation: IBIPC-VEN-002 Firbach 100 × 1 [ENGINEER_REVIEW_REQUIRED] — Тип ФВУ для сборки не указан

IBIPC-BNK-002-3S — 3-segment arrangement

segment_01: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

segment_02: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

segment_03: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

end_lid_door: IBIPC-STR-010 End Lid with door opening (LID I) × 1 [CATALOG_CONFIRMED]

end_lid_slit: IBIPC-STR-011 End Lid with observation slit / embrasure (LID II) × 1 [CATALOG_CONFIRMED]

joint_seal: IBIPC-STR-012 Rubber seal (segment joint) × 4 [DERIVED]

ballistic_door: IBIPC-DOR-001 SANDWICH BALLISTIC-RESISTANT DOORS. ARMORED AND CAST IN UHPFRC. × 1 [CATALOG_CONFIRMED]

escape_hatch: IBIPC-STR-015 Escape hatch / emergency exit × 1 [CATALOG_CONFIRMED]

embrasure: IBIPC-STR-013 Stepped embrasure (±28°) × ? [ENGINEER_REVIEW_REQUIRED]

observation_slit: IBIPC-STR-014 Observation slit × ? [ENGINEER_REVIEW_REQUIRED]

filter_ventilation: IBIPC-VEN-002 Firbach 100 × 1 [ENGINEER_REVIEW_REQUIRED] — Тип ФВУ для сборки не указан

IBIPC-BNK-003 — BASIC INFANTRY BUNKER. FOR THREE RIFLEMEN, TO PROTECT A SIX-MAN SQUAD.

segment_01: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

end_lid_entrance: IBIPC-STR-010 End Lid with door opening (LID I) × 1 [CATALOG_CONFIRMED]

end_lid_embrasure: IBIPC-STR-011 End Lid with observation slit / embrasure (LID II) × 1 [CATALOG_CONFIRMED]

joint_seal: IBIPC-STR-012 Rubber seal (segment joint) × 2 [DERIVED]

embrasure: IBIPC-STR-013 Stepped embrasure (±28°) × 3 [ENGINEER_REVIEW_REQUIRED] — 3 стрелка → 3 амбразуры (предположение)

observation_slit: IBIPC-STR-014 Observation slit × ? [ENGINEER_REVIEW_REQUIRED]

IBIPC-BNK-004 — EXTENDED INFANTRY BUNKER. FOR FOUR RIFLEMEN, TO PROTECT A 10-MAN SQUAD.

segment_01: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

segment_02: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

end_lid_entrance: IBIPC-STR-010 End Lid with door opening (LID I) × 1 [CATALOG_CONFIRMED]

end_lid_embrasure: IBIPC-STR-011 End Lid with observation slit / embrasure (LID II) × 1 [CATALOG_CONFIRMED]

joint_seal: IBIPC-STR-012 Rubber seal (segment joint) × 3 [DERIVED]

embrasure: IBIPC-STR-013 Stepped embrasure (±28°) × 4 [ENGINEER_REVIEW_REQUIRED]

observation_slit: IBIPC-STR-014 Observation slit × ? [ENGINEER_REVIEW_REQUIRED]

IBIPC-BNK-005 — EXTENDED INFANTRY BUNKER. FOR EIGHT RIFLEMEN, TO PROTECT A 10-MAN SQUAD.

segment_01: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

segment_02: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

segment_03: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

end_lid_entrance: IBIPC-STR-010 End Lid with door opening (LID I) × 1 [CATALOG_CONFIRMED]

end_lid_embrasure: IBIPC-STR-011 End Lid with observation slit / embrasure (LID II) × 1 [CATALOG_CONFIRMED]

joint_seal: IBIPC-STR-012 Rubber seal (segment joint) × 4 [DERIVED]

embrasure: IBIPC-STR-013 Stepped embrasure (±28°) × 8 [ENGINEER_REVIEW_REQUIRED]

observation_slit: IBIPC-STR-014 Observation slit × 6 [ENGINEER_REVIEW_REQUIRED] — По плану стр. 16

IBIPC-BNK-006 — INTER-OPERATIONAL AMMUNITION DEPOT. TO STORE AMMO AT TRANSSHIPMENT POINTS.

segment_01: IBIPC-STR-001-IID TYPE II – as drawn on pp. 17/23/28 (3.6 × 3.6 m, wall 300 mm) × 1 [CATALOG_CONFIRMED]

segment_02: IBIPC-STR-001-IID TYPE II – as drawn on pp. 17/23/28 (3.6 × 3.6 m, wall 300 mm) × 1 [CATALOG_CONFIRMED]

segment_03: IBIPC-STR-001-IID TYPE II – as drawn on pp. 17/23/28 (3.6 × 3.6 m, wall 300 mm) × 1 [CATALOG_CONFIRMED]

segment_04: IBIPC-STR-001-IID TYPE II – as drawn on pp. 17/23/28 (3.6 × 3.6 m, wall 300 mm) × 1 [CATALOG_CONFIRMED]

safety_partition: IBIPC-STR-017 Safety partition (Ammo Depot / Command Bunker) × 1 [CATALOG_CONFIRMED]

end_lid_A: IBIPC-STR-010 End Lid with door opening (LID I) × 1 [ENGINEER_REVIEW_REQUIRED] — Крышка 320 мм TYPE II

end_lid_B: IBIPC-STR-010 End Lid with door opening (LID I) × 1 [ENGINEER_REVIEW_REQUIRED]

double_door: IBIPC-DOR-001-DD Double door (bulletproof, forklift loading) × 2 [CATALOG_CONFIRMED]

IBIPC-BNK-007 — AMMO BUNKER.

segment_01: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

segment_02: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

segment_03: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

end_lid_closed: IBIPC-STR-011 End Lid with observation slit / embrasure (LID II) × 1 [ENGINEER_REVIEW_REQUIRED]

joint_seal: IBIPC-STR-012 Rubber seal (segment joint) × 3 [DERIVED]

sandbag_berm: — Sandbag containment berm × 1 [CATALOG_CONFIRMED] — Контекстный слой, не изделие IBIPC

IBIPC-BNK-008 — MEDIC BUNKER.

segment_01: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

segment_02: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

segment_03: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

joint_seal: IBIPC-STR-012 Rubber seal (segment joint) × 2 [DERIVED]

sandbag_berm: — Protective sandbag berm × 1 [CATALOG_CONFIRMED] — Контекстный слой

IBIPC-BNK-009 — CLASS A HARDENED INFANTRY BUNKER. TO CONDUCT COMBAT OPERATIONS.

module: IBIPC-STR-001-II TYPE II × 5 [ENGINEER_REVIEW_REQUIRED] — 5 пролётов по плану; тип модуля не указан

sarcophagus: — UHPFRC protective sarcophagus × 1 [CATALOG_CONFIRMED]

door_with_loopholes: IBIPC-DOR-001-LH Door with loopholes (Class A) × ? [ENGINEER_REVIEW_REQUIRED]

filter_ventilation_cbrne: IBIPC-VEN-006 Modular system of air ventilation and CBRN filtration × 1 [ENGINEER_REVIEW_REQUIRED]

pressure_relief_valve: IBIPC-TEC-008 Anti-blast valve / overpressure valve × ? [ENGINEER_REVIEW_REQUIRED]

interior: — Stoves, folding beds, storage, comms × 1 [CATALOG_CONFIRMED]

IBIPC-BNK-010 — CLASS B HARDENED INFANTRY BUNKER. PERSONNEL PROTECTION.

module: IBIPC-STR-001-II TYPE II × ? [ENGINEER_REVIEW_REQUIRED]

sarcophagus: — UHPFRC protective sarcophagus × 1 [CATALOG_CONFIRMED]

reinforced_roof: — Reinforced roof structure × 1 [CATALOG_CONFIRMED]

gas_tight_door: IBIPC-DOR-001-GT Armored gas-tight / anti-pressure door × ? [ENGINEER_REVIEW_REQUIRED]

filter_ventilation_cbrne: IBIPC-VEN-006 Modular system of air ventilation and CBRN filtration × 1 [ENGINEER_REVIEW_REQUIRED]

interior: — Stoves, folding beds × 1 [CATALOG_CONFIRMED]

IBIPC-BNK-011 — COMMAND BUNKER. LEADING TACTICAL - OPERATIONAL CONTROL STATION.

segment_01: IBIPC-STR-001-IID TYPE II – as drawn on pp. 17/23/28 (3.6 × 3.6 m, wall 300 mm) × 1 [CATALOG_CONFIRMED]

segment_02: IBIPC-STR-001-IID TYPE II – as drawn on pp. 17/23/28 (3.6 × 3.6 m, wall 300 mm) × 1 [CATALOG_CONFIRMED]

segment_03: IBIPC-STR-001-IID TYPE II – as drawn on pp. 17/23/28 (3.6 × 3.6 m, wall 300 mm) × 1 [CATALOG_CONFIRMED]

segment_04: IBIPC-STR-001-IID TYPE II – as drawn on pp. 17/23/28 (3.6 × 3.6 m, wall 300 mm) × 1 [CATALOG_CONFIRMED]

partition: IBIPC-STR-017 Safety partition (Ammo Depot / Command Bunker) × 1 [CATALOG_CONFIRMED]

end_lid_A: IBIPC-STR-010 End Lid with door opening (LID I) × 1 [ENGINEER_REVIEW_REQUIRED]

end_lid_B: IBIPC-STR-010 End Lid with door opening (LID I) × 1 [ENGINEER_REVIEW_REQUIRED]

anti_pressure_door: IBIPC-DOR-001-GT Armored gas-tight / anti-pressure door × ? [ENGINEER_REVIEW_REQUIRED]

filter_ventilation_unit: IBIPC-VEN-006 Modular system of air ventilation and CBRN filtration × 1 [CATALOG_CONFIRMED]

cbrne_filter: — CBRNE filter × 1 [CATALOG_CONFIRMED]

chemical_wc: IBIPC-TEC-018 Chemical WC × 1 [CATALOG_CONFIRMED]

control_space: — Control space / technical equipment zone × 1 [CATALOG_CONFIRMED]

IBIPC-SHL-001 — UNDERGROUND SHELTERS.

segment: IBIPC-STR-001-I TYPE I × 5 [ENGINEER_REVIEW_REQUIRED] — 5 сегментов; тип не указан

armoured_door: IBIPC-DOR-001-GT Armored gas-tight / anti-pressure door × ? [ENGINEER_REVIEW_REQUIRED]

barred_door: IBIPC-DOR-002 Barred doors made of high strength steel (OPENABLE DOOR WITH BAR) × 2 [CATALOG_CONFIRMED]

escape_opening: IBIPC-STR-015 Escape hatch / emergency exit × 1 [CATALOG_CONFIRMED]

ladder: IBIPC-TEC-020 Ladder (escape) × 1 [CATALOG_CONFIRMED]

filter_ventilation: IBIPC-VEN-002 Firbach 100 × 1 [CATALOG_CONFIRMED]

anti_blast_overpressure_valve: IBIPC-TEC-008 Anti-blast valve / overpressure valve × ? [ENGINEER_REVIEW_REQUIRED]

battery: IBIPC-TEC-014 Battery × 3 [ENGINEER_REVIEW_REQUIRED] — По подписям плана

generator: IBIPC-TEC-015 Generator × 1 [CATALOG_CONFIRMED]

water_tank: IBIPC-TEC-017 Stainless steel water tank × 1 [CATALOG_CONFIRMED]

storage: IBIPC-TEC-021 Storage (supplies) × 1 [CATALOG_CONFIRMED]

stone_plane_backfill: MAT-012 Stone plane with earthen backfill × 1 [CATALOG_CONFIRMED] — Защитный слой

IBIPC-SHL-002 — CIVIL DEFENCE SHELTERS.

segment_01: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

segment_02: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

segment_03: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

segment_04: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

segment_05: IBIPC-STR-001-I TYPE I × 1 [CATALOG_CONFIRMED]

end_lid_door: IBIPC-STR-010 End Lid with door opening (LID I) × 1 [CATALOG_CONFIRMED]

end_lid_escape: IBIPC-STR-011 End Lid with observation slit / embrasure (LID II) × 1 [CATALOG_CONFIRMED]

joint_seal: IBIPC-STR-012 Rubber seal (segment joint) × 6 [DERIVED]

ballistic_door: IBIPC-DOR-001 SANDWICH BALLISTIC-RESISTANT DOORS. ARMORED AND CAST IN UHPFRC. × 1 [CATALOG_CONFIRMED]

escape_hatch: IBIPC-STR-015 Escape hatch / emergency exit × 1 [CATALOG_CONFIRMED]

technical_area: — Technical devices × 1 [CATALOG_CONFIRMED]

seating: — Seating / occupancy layout × 1 [CATALOG_CONFIRMED] — Опциональный интерьерный слой

IBIPC-SYS-001 — BUNKER FOR GENERATORS OR COGENERATION UNITS. SITE FOR SECURE POWER DELIVERY.

segment_01: IBIPC-STR-001-IID TYPE II – as drawn on pp. 17/23/28 (3.6 × 3.6 m, wall 300 mm) × 1 [CATALOG_CONFIRMED]

segment_02: IBIPC-STR-001-IID TYPE II – as drawn on pp. 17/23/28 (3.6 × 3.6 m, wall 300 mm) × 1 [CATALOG_CONFIRMED]

segment_03: IBIPC-STR-001-IID TYPE II – as drawn on pp. 17/23/28 (3.6 × 3.6 m, wall 300 mm) × 1 [CATALOG_CONFIRMED]

end_panel_door: — 200 mm concrete panel with door frame × 1 [CATALOG_CONFIRMED]

ballistic_door: IBIPC-DOR-001 SANDWICH BALLISTIC-RESISTANT DOORS. ARMORED AND CAST IN UHPFRC. × 1 [CATALOG_CONFIRMED] — 900×1700

end_lid: IBIPC-STR-010 End Lid with door opening (LID I) × 1 [ENGINEER_REVIEW_REQUIRED] — 320 мм

shutoff_valve: IBIPC-TEC-009 Depressurized shut-off valve with ballistic protection × 3 [CATALOG_CONFIRMED]

filter: IBIPC-TEC-012 Intake / exhaust filter (G3 / EU3) × 1 [CATALOG_CONFIRMED]

damper: IBIPC-TEC-010 Damper × 2 [ENGINEER_REVIEW_REQUIRED]

ventilator: IBIPC-TEC-011 Ventilator (6,000 m³/h fan) × 1 [CATALOG_CONFIRMED]

muffler: IBIPC-TEC-013 Exhaust muffler × 1 [CATALOG_CONFIRMED]

cogeneration_or_generator_proxy: IBIPC-TEC-016 Cogeneration unit × 1 [CATALOG_CONFIRMED]

IBIPC-WAL-001 — BALLISTIC WALLS

panel: — Ballistic wall panel × ? [ENGINEER_REVIEW_REQUIRED]

column_HEB: MAT-008 Rolled steel profile HEB × ? [ENGINEER_REVIEW_REQUIRED]

anchor_housing: — Steel anchor housing × ? [CATALOG_CONFIRMED]

spacer: — Connection of steel anchor housings with spacer element × ? [CATALOG_CONFIRMED]

rubber_granulate_filling: MAT-011 Permanently flexible rubber granulate filling × 1 [CATALOG_CONFIRMED]

foundation: — Concrete foundation footing × ? [CATALOG_CONFIRMED]

IBIPC-RDB-001 — CONCRETE PYRAMID

pyramid: IBIPC-RDB-001-H HEAVY × ? [ENGINEER_INPUT] — Количество — по проекту

shackle: IBIPC-RDB-010 Ship's shackle × ? [CATALOG_CONFIRMED]

anchor_chain: IBIPC-RDB-011 Nautical anchor chain × ? [CATALOG_CONFIRMED]

IBIPC-RDB-002-PO — High-strength steel – CARS (Police version)

panel: — Roadblock part × 2 [CERTIFICATE_CONFIRMED] — 750×750×115, 20 kg

IBIPC-VEN-002 — Firbach 100

outlet_filter: — outlet filter × 1 [CATALOG_CONFIRMED]

radial_blower_with_gearbox: — radial blower with gearbox × 1 [CATALOG_CONFIRMED]

electromotor: — electromotor × 1 [CATALOG_CONFIRMED]

crank_handle_drive: — crank handle drive × 1 [CATALOG_CONFIRMED]

gas_tight_dampers: — gas tight dampers × 1 [CATALOG_CONFIRMED]

adsorption_filter: — adsorption filter × 1 [CATALOG_CONFIRMED]

inlet_overpressure_valve: — inlet overpressure valve × 1 [CATALOG_CONFIRMED]

inlet_dust_filter: — inlet dust filter × 1 [CATALOG_CONFIRMED]

air_flow_meter: — air flow meter × 1 [CATALOG_CONFIRMED]

IBIPC-VEN-001 — Firbach 50

coarse dust filter: — coarse dust filter × 1 [CATALOG_CONFIRMED]

HEPA filter H13/H14: — HEPA filter H13/H14 × 1 [CATALOG_CONFIRMED]

NANOPASARAN nanofilter: — NANOPASARAN nanofilter × 1 [CATALOG_CONFIRMED]

CBRN activated carbon filter: — CBRN activated carbon filter × 1 [CATALOG_CONFIRMED]

# 5. Variants / Варианты

| Variant_ID | Parent | Variant | Axis | Geometry | Review | Comment RU |
| --- | --- | --- | --- | --- | --- | --- |
| IBIPC-BAR-001-L | BALLISTIC CONCRETE BENCHES | LIGHT | LIGHT_HEAVY | PARTIAL | ENGINEER_REVIEW_REQUIRED | Различие с HEAVY не указано |
| IBIPC-BAR-001-H | BALLISTIC CONCRETE BENCHES | HEAVY | LIGHT_HEAVY | PARTIAL | ENGINEER_REVIEW_REQUIRED | Различие с LIGHT не указано |
| IBIPC-BAR-002-L | BALLISTIC CONCRETE FLOWER BOXES | LIGHT | LIGHT_HEAVY | PARTIAL | ENGINEER_REVIEW_REQUIRED | Не раскрыто |
| IBIPC-BAR-002-H | BALLISTIC CONCRETE FLOWER BOXES | HEAVY | LIGHT_HEAVY | PARTIAL | ENGINEER_REVIEW_REQUIRED | Не раскрыто |
| IBIPC-BAR-002-FS | BALLISTIC CONCRETE FLOWER BOXES | Freestanding (top part only) | INSTALLATION | COMPLETE | PENDING_HUMAN_REVIEW |  |
| IBIPC-BAR-002-GP | BALLISTIC CONCRETE FLOWER BOXES | On ground-based plate (two-part) | INSTALLATION | PARTIAL | ENGINEER_REVIEW_REQUIRED | Геометрия плиты основания не дана |
| IBIPC-WAL-002-S | MOBILE T - WALLS | Solid (no openings) | OPENINGS | PARTIAL | ENGINEER_REVIEW_REQUIRED | Показан только на фото |
| IBIPC-WAL-002-E | MOBILE T - WALLS | With embrasure and two observation slits (bullet-proof glass) | OPENINGS | COMPLETE | PENDING_HUMAN_REVIEW | По чертежу |
| IBIPC-RDB-001-H | CONCRETE PYRAMID | HEAVY | HEAVY_MEDIUM_LIGHT | COMPLETE | PENDING_HUMAN_REVIEW |  |
| IBIPC-RDB-001-M | CONCRETE PYRAMID | MEDIUM | HEAVY_MEDIUM_LIGHT | COMPLETE | PENDING_HUMAN_REVIEW |  |
| IBIPC-RDB-001-L | CONCRETE PYRAMID | LIGHT | HEAVY_MEDIUM_LIGHT | COMPLETE | ENGINEER_REVIEW_REQUIRED |  |
| IBIPC-RDB-002-UH | MOBILE ROADBLOCK – STING | UHPRC – HEAVY TANKS | MATERIAL_THREAT_CLASS | PARTIAL | ENGINEER_REVIEW_REQUIRED | Отдельная запись по материалу/классу угрозы |
| IBIPC-RDB-002-HC | MOBILE ROADBLOCK – STING | High-strength concrete – MIDDLE TANKS | MATERIAL_THREAT_CLASS | PARTIAL | ENGINEER_REVIEW_REQUIRED | Отдельная запись по материалу/классу угрозы |
| IBIPC-RDB-002-HS | MOBILE ROADBLOCK – STING | High-strength steel – COMBAT VEHICLES, TRUCKS | MATERIAL_THREAT_CLASS | PARTIAL | ENGINEER_REVIEW_REQUIRED | Отдельная запись по материалу/классу угрозы |
| IBIPC-RDB-002-PO | MOBILE ROADBLOCK – STING | High-strength steel – CARS (Police version) | MATERIAL_THREAT_CLASS | PARTIAL | ENGINEER_REVIEW_REQUIRED | Отдельная запись по материалу/классу угрозы |
| IBIPC-STR-001-I | UNIVERSAL CONSTRUCTION SEGMENT | TYPE I | TYPE_I_II | COMPLETE | PENDING_HUMAN_REVIEW | На чертежах сборок длина в осях = 1990 мм (а не 2000). |
| IBIPC-STR-001-II | UNIVERSAL CONSTRUCTION SEGMENT | TYPE II | TYPE_I_II | COMPLETE | PENDING_HUMAN_REVIEW |  |
| IBIPC-STR-001-IID | UNIVERSAL CONSTRUCTION SEGMENT | TYPE II – as drawn on pp. 17/23/28 (3.6 × 3.6 m, wall 300 mm) | TYPE_I_II | PARTIAL | ENGINEER_REVIEW_REQUIRED | Не подтверждённый отдельный тип; уточнить у IBIPC DSC-005 |
| IBIPC-STR-020-L | BALISTIC PLATES | LIGHT | LIGHT_HEAVY | COMPLETE | PENDING_HUMAN_REVIEW |  |
| IBIPC-STR-020-H | BALISTIC PLATES | HEAVY | LIGHT_HEAVY | COMPLETE | PENDING_HUMAN_REVIEW |  |
| IBIPC-CAB-001-LC | TUNNELS TO PROTECT HIGH PRIORITY CABLES | LIGHT – CONVEX LID | LIGHT_HEAVY × LID | PARTIAL | ENGINEER_REVIEW_REQUIRED | Размеры по варианту не даны |
| IBIPC-CAB-001-LF | TUNNELS TO PROTECT HIGH PRIORITY CABLES | LIGHT – FLAT LID | LIGHT_HEAVY × LID | PARTIAL | ENGINEER_REVIEW_REQUIRED | Размеры по варианту не даны |
| IBIPC-CAB-001-HC | TUNNELS TO PROTECT HIGH PRIORITY CABLES | HEAVY – CONVEX LID | LIGHT_HEAVY × LID | PARTIAL | ENGINEER_REVIEW_REQUIRED | Размеры по варианту не даны |
| IBIPC-CAB-001-HF | TUNNELS TO PROTECT HIGH PRIORITY CABLES | HEAVY – FLAT LID | LIGHT_HEAVY × LID | PARTIAL | ENGINEER_REVIEW_REQUIRED | Размеры по варианту не даны |
| IBIPC-DOR-001-S | SANDWICH BALLISTIC-RESISTANT DOORS. ARMORED AND CAST IN UHPFRC. | Single leaf | LEAF_CONFIG | COMPLETE | PENDING_HUMAN_REVIEW |  |
| IBIPC-DOR-001-DD | SANDWICH BALLISTIC-RESISTANT DOORS. ARMORED AND CAST IN UHPFRC. | Double door (bulletproof, forklift loading) | LEAF_CONFIG | PARTIAL | ENGINEER_REVIEW_REQUIRED | Размеры не даны |
| IBIPC-DOR-001-LH | SANDWICH BALLISTIC-RESISTANT DOORS. ARMORED AND CAST IN UHPFRC. | Door with loopholes (Class A) | LEAF_CONFIG | PARTIAL | ENGINEER_REVIEW_REQUIRED | Геометрия бойниц не дана |
| IBIPC-DOR-001-GT | SANDWICH BALLISTIC-RESISTANT DOORS. ARMORED AND CAST IN UHPFRC. | Armored gas-tight / anti-pressure door | LEAF_CONFIG | PARTIAL | ENGINEER_REVIEW_REQUIRED | Упоминается в тексте |
| IBIPC-BNK-002-2S | MOBILE BUNKERS | 2-segment arrangement | SEGMENT_COUNT | COMPLETE | PENDING_HUMAN_REVIEW |  |
| IBIPC-BNK-002-3S | MOBILE BUNKERS | 3-segment arrangement | SEGMENT_COUNT | COMPLETE | PENDING_HUMAN_REVIEW |  |
| IBIPC-BNK-006-S | INTER-OPERATIONAL AMMUNITION DEPOT. TO STORE AMMO AT TRANSSHIPMENT POINTS. | SHORT | SHORT_LONG | PARTIAL | ENGINEER_REVIEW_REQUIRED | Отдельный чертёж не показан |
| IBIPC-BNK-006-L | INTER-OPERATIONAL AMMUNITION DEPOT. TO STORE AMMO AT TRANSSHIPMENT POINTS. | LONG | SHORT_LONG | PARTIAL | ENGINEER_REVIEW_REQUIRED |  |
| IBIPC-SHL-003-F16 | HARDENED AIRCRAFT SHELTERS. | F-16 | AIRCRAFT | NONE | ENGINEER_REVIEW_REQUIRED | Только в перечне (29) |
| IBIPC-SHL-003-F35 | HARDENED AIRCRAFT SHELTERS. | F-35 | AIRCRAFT | NONE | ENGINEER_REVIEW_REQUIRED | Только в перечне (30) |
| IBIPC-SYS-001-G | BUNKER FOR GENERATORS OR COGENERATION UNITS. SITE FOR SECURE POWER DELIVERY. | For generators | EQUIPMENT | PARTIAL | PENDING_HUMAN_REVIEW | Перечень стр. 5 №24 |
| IBIPC-SYS-001-C | BUNKER FOR GENERATORS OR COGENERATION UNITS. SITE FOR SECURE POWER DELIVERY. | For cogeneration units | EQUIPMENT | PARTIAL | PENDING_HUMAN_REVIEW | Перечень стр. 5 №25; чертёж показывает cogeneration unit |

# 6. Technical Components / Технические компоненты

| IBIPC_ID | Name | Subcategory | Geometry | Pages | Comment RU |
| --- | --- | --- | --- | --- | --- |
| IBIPC-VEN-001 | Firbach 50 | Filter-Ventilation Units | ENVELOPE_ONLY | 31 |  |
| IBIPC-VEN-002 | Firbach 100 | Filter-Ventilation Units | ENVELOPE_ONLY | 22, 30 |  |
| IBIPC-VEN-003 | Firbach 300 | Filter-Ventilation Units | ENVELOPE_ONLY | 30 | Размеры не даны. |
| IBIPC-VEN-004 | FV-400 air filter-ventilation unit | Filter-Ventilation Units | ENVELOPE_ONLY | 31 |  |
| IBIPC-VEN-005 | NANOPASARAN FILTER – CBRN PROTECTION | Filters | ENVELOPE_ONLY | 30, 31 |  |
| IBIPC-VEN-006 | Modular system of air ventilation and CBRN filtration | Modular Ventilation | ENVELOPE_ONLY | 30 |  |
| IBIPC-TEC-001 | HPF coarse dust filter | Robust Components | ENVELOPE_ONLY | 31 | Functional proxy; размеры не даны. |
| IBIPC-TEC-002 | Liquid column air pressure manometer | Robust Components | ENVELOPE_ONLY | 31 | Functional proxy; размеры не даны. |
| IBIPC-TEC-003 | Robust gas-tight valve / regulatory flap – TEMP-A (square flange) | Robust Components | ENVELOPE_ONLY | 31 | TEMP_ID: точное наименование по каталогу не подписано индивидуально. Functional proxy; размеры не даны. |
| IBIPC-TEC-004 | Robust gas-tight valve / regulatory flap – TEMP-B (round flange, lever) | Robust Components | ENVELOPE_ONLY | 31 | TEMP_ID: точное наименование по каталогу не подписано индивидуально. Functional proxy; размеры не даны. |
| IBIPC-TEC-005 | Robust gas-tight valve / regulatory flap – TEMP-C (handwheel) | Robust Components | ENVELOPE_ONLY | 31 | TEMP_ID: точное наименование по каталогу не подписано индивидуально. Functional proxy; размеры не даны. |
| IBIPC-TEC-006 | Centrifugal fan VA 300 | Robust Components | ENVELOPE_ONLY | 31 | Functional proxy; размеры не даны. |
| IBIPC-TEC-007 | Air mass flow meter | Robust Components | ENVELOPE_ONLY | 31 | Functional proxy; размеры не даны. |
| IBIPC-TEC-008 | Anti-blast valve / overpressure valve | Air Handling Parts | ENVELOPE_ONLY | 22, 25 | Functional proxy; размеры не даны. |
| IBIPC-TEC-009 | Depressurized shut-off valve with ballistic protection | Air Handling Parts | ENVELOPE_ONLY | 23 | Functional proxy; размеры не даны. |
| IBIPC-TEC-010 | Damper | Air Handling Parts | ENVELOPE_ONLY | 23 | Functional proxy; размеры не даны. |
| IBIPC-TEC-011 | Ventilator (6,000 m³/h fan) | Air Handling Parts | ENVELOPE_ONLY | 23 | Functional proxy; размеры не даны. |
| IBIPC-TEC-012 | Intake / exhaust filter (G3 / EU3) | Air Handling Parts | ENVELOPE_ONLY | 23 | Functional proxy; размеры не даны. |
| IBIPC-TEC-013 | Exhaust muffler | Air Handling Parts | ENVELOPE_ONLY | 23 | Functional proxy; размеры не даны. |
| IBIPC-TEC-014 | Battery | Power / Energy | ENVELOPE_ONLY | 22 | Functional proxy; размеры не даны. |
| IBIPC-TEC-015 | Generator | Power / Energy | ENVELOPE_ONLY | 22, 23 | Functional proxy; размеры не даны. |
| IBIPC-TEC-016 | Cogeneration unit | Power / Energy | ENVELOPE_ONLY | 23 | Functional proxy; размеры не даны. |
| IBIPC-TEC-017 | Stainless steel water tank | Water / Sanitary | ENVELOPE_ONLY | 22 | Functional proxy; размеры не даны. |
| IBIPC-TEC-018 | Chemical WC | Water / Sanitary | ENVELOPE_ONLY | 28 | Functional proxy; размеры не даны. |
| IBIPC-TEC-019 | Bullet-proof glass slit (frame + glass + glass retainer) | Glazing | ENVELOPE_ONLY | 32, 4 | Functional proxy; размеры не даны. |
| IBIPC-TEC-020 | Ladder (escape) | Access / Interior | ENVELOPE_ONLY | 22 | Functional proxy; размеры не даны. |
| IBIPC-TEC-021 | Storage (supplies) | Access / Interior | ENVELOPE_ONLY | 22 | Functional proxy; размеры не даны. |

# 7. Materials / Материалы

| ID | Name | Type | Parameters (value · source) |
| --- | --- | --- | --- |
| MAT-001 | UHPFRC – Ultra High Performance Fiber Reinforced Concrete (patented) | MATERIAL / CONSTRUCTION MATERIAL | compressive_strength_catalog: 150 MPa (CATALOG_CONFIRMED · p.29); tensile_strength_catalog: 15 MPa (CATALOG_CONFIRMED · p.29); compressive_strength_test_specimen: 163.3 MPa (TEST_REPORT_CONFIRMED · p.41); bulk_density_test_specimen: 2765 kg/m3 (TEST_REPORT_CONFIRMED · p.41); ballistic_blast_classification: A5, C4, D6 (STANAG 2280 Ed.2) – Conditionally Compliant (CERTIFICATE_CONFIRMED · p.42); patents: ["CZ 304 478 (CTU Prague)", "EP 3 351 518 A1"] (CATALOG_CONFIRMED · p.42); other_properties: ["unique high ductility", "zero radio transmission", "very high infrared shielding", "high nuclear (gamma / neutron) shielding", "water resistant"] (CATALOG_CONFIRMED · p.29); material_density: NOT_AVAILABLE (NOT_AVAILABLE · p.—) |
| MAT-002 | IBIPC UHPFRC Concrete Mixture (CONCRETE MIXTURES – rapid repair) | MATERIAL / CONSTRUCTION MATERIAL | compressive_strength: >165 MPa (CATALOG_CONFIRMED · p.37); use: rapid repair of damaged defence / critical infrastructure objects (runways, bridges) (CATALOG_CONFIRMED · p.37) |
| MAT-003 | ARMOX 500T | ARMOR STEEL | layer_thickness: 2 × 16 mm (CATALOG_CONFIRMED · p.20) |
| MAT-004 | ARMOX 440T | ARMOR STEEL | layer_thickness: 8 mm (CATALOG_CONFIRMED · p.20) |
| MAT-005 | UHPRC | CONCRETE | — |
| MAT-006 | High-strength concrete | CONCRETE | — |
| MAT-007 | High-strength steel | STEEL | — |
| MAT-008 | Rolled steel profile HEB | STEEL | — |
| MAT-009 | High performance concrete C105/115 (EN 206) | CONCRETE | strength_class: C105/115 (CATALOG_CONFIRMED · p.22) |
| MAT-010 | Rubber seal | ELASTOMER | — |
| MAT-011 | Permanently flexible rubber granulate filling | ELASTOMER | — |
| MAT-012 | Stone plane with earthen backfill | PROTECTIVE LAYER | — |
| MAT-013 | Bullet-proof ballistic glass STANAG 4569 Level IV | GLAZING | standard: STANAG 4569 Level IV (CATALOG_CONFIRMED · p.4) |

# 8. Geometry completeness / Полнота геометрии

COMPLETE — Полная геометрия: 17

IBIPC-BAR-001 Ballistic Concrete Bench, IBIPC-BAR-002 Ballistic Concrete Flower Box, IBIPC-BAR-004 Ballistic Seat, IBIPC-WAL-002 Mobile T-Wall, IBIPC-RDB-001 Concrete Pyramid, IBIPC-STR-001 Universal Construction Segment, IBIPC-STR-016 Pass-through opening Ø50 mm, IBIPC-STR-020 Ballistic Plate, IBIPC-DOR-001 Sandwich Ballistic-Resistant Door, IBIPC-BNK-001 Checkpoint, IBIPC-BNK-002 Mobile Bunker, IBIPC-BNK-003 Basic Infantry Bunker, IBIPC-BNK-004 Extended Infantry Bunker – 4 riflemen, IBIPC-BNK-005 Extended Infantry Bunker – 8 riflemen, IBIPC-BNK-007 Ammo Bunker / Operative Ammunition Bunker, IBIPC-BNK-008 Medic Bunker, IBIPC-SHL-002 Civil Defence Shelter

PARTIAL — Частичная геометрия: 15

IBIPC-WAL-001 Ballistic Wall, IBIPC-RDB-002 Mobile Roadblock STING, IBIPC-STR-010 End Lid I – door, IBIPC-STR-011 End Lid II – slit / embrasure, IBIPC-STR-013 Stepped embrasure (±28°), IBIPC-STR-014 Observation slit, IBIPC-STR-015 Escape hatch / emergency exit, IBIPC-STR-017 Safety partition (Ammo Depot / Command Bunker), IBIPC-CAB-001 Cable Protection Tunnel, IBIPC-BNK-006 Inter-Operational Ammunition Depot, IBIPC-BNK-009 Class A Hardened Infantry Bunker, IBIPC-BNK-010 Class B Hardened Infantry Bunker, IBIPC-BNK-011 Command Bunker, IBIPC-SHL-001 Underground Shelter, IBIPC-SYS-001 Bunker for Generators or Cogeneration Units

ENVELOPE_ONLY — Только габарит / прокси: 30

IBIPC-BAR-003 Ground-based plate (Flower Box base), IBIPC-STR-012 Rubber seal (segment joint), IBIPC-DOR-002 Barred Door, IBIPC-VEN-001 Firbach 50, IBIPC-VEN-002 Firbach 100, IBIPC-VEN-003 Firbach 300, IBIPC-VEN-004 FV-400 air filter-ventilation unit, IBIPC-VEN-005 NANOPASARAN FILTER – CBRN PROTECTION, IBIPC-VEN-006 Modular system of air ventilation and CBRN filtration, IBIPC-TEC-001 HPF coarse dust filter, IBIPC-TEC-002 Liquid column air pressure manometer, IBIPC-TEC-003 Robust gas-tight valve / regulatory flap – TEMP-A (square flange), IBIPC-TEC-004 Robust gas-tight valve / regulatory flap – TEMP-B (round flange, lever), IBIPC-TEC-005 Robust gas-tight valve / regulatory flap – TEMP-C (handwheel), IBIPC-TEC-006 Centrifugal fan VA 300, IBIPC-TEC-007 Air mass flow meter, IBIPC-TEC-008 Anti-blast valve / overpressure valve, IBIPC-TEC-009 Depressurized shut-off valve with ballistic protection, IBIPC-TEC-010 Damper, IBIPC-TEC-011 Ventilator (6,000 m³/h fan), IBIPC-TEC-012 Intake / exhaust filter (G3 / EU3), IBIPC-TEC-013 Exhaust muffler, IBIPC-TEC-014 Battery, IBIPC-TEC-015 Generator, IBIPC-TEC-016 Cogeneration unit, IBIPC-TEC-017 Stainless steel water tank, IBIPC-TEC-018 Chemical WC, IBIPC-TEC-019 Bullet-proof glass slit (frame + glass + glass retainer), IBIPC-TEC-020 Ladder (escape), IBIPC-TEC-021 Storage (supplies)

NONE — Геометрии нет: 11

IBIPC-BAR-005 BLAST RESISTANT MOBILE LITTER BINS, IBIPC-RDB-010 Ship's shackle, IBIPC-RDB-011 Nautical anchor chain, IBIPC-BNK-020 PANIC ROOM, IBIPC-BNK-021 MILITARY DEFENSE BUNKER, IBIPC-BNK-022 INVACUATION BUNKER, IBIPC-BNK-023 Emergency Shelter, IBIPC-BNK-024 Hardened safety bunker, IBIPC-SHL-003 Hardened Aircraft Shelter, IBIPC-SYS-002 Custom-Made Bunker Casting, IBIPC-SYS-003 MODULAR CONTAINER DATA CENTERS

# 9. ENGINEER REVIEW REQUIRED

| Ref | Name | Kind | Pages | Issue RU |
| --- | --- | --- | --- | --- |
| IBIPC-BAR-003 | Ground-based plate (Flower Box base) | PRODUCT | 8 | Плита упомянута в тексте, размеры не даны. |
| IBIPC-BAR-005 | BLAST RESISTANT MOBILE LITTER BINS | PRODUCT | 5 | Есть только в перечне стр. 5; страницы изделия нет. Модель не создавать до получения данных. |
| IBIPC-WAL-001 | BALLISTIC WALLS | PRODUCT | 10, 5 | Размеров панелей, колонн и фундамента нет. Состав узла анкеровки известен. |
| IBIPC-STR-010 | End Lid with door opening (LID I) | PRODUCT | 12, 13, 27 |  |
| IBIPC-STR-011 | End Lid with observation slit / embrasure (LID II) | PRODUCT | 12, 13, 27 |  |
| IBIPC-STR-013 | Stepped embrasure (±28°) | PRODUCT | 12, 13, 14, 15, 16, 32 | Ступенчатая амбразура — элемент сегмента/крышки, не отдельное изделие. |
| IBIPC-STR-015 | Escape hatch / emergency exit | PRODUCT | 13, 22, 27 |  |
| IBIPC-CAB-001 | TUNNELS TO PROTECT HIGH PRIORITY CABLES | PRODUCT | 33, 5 | Номер 10 в перечне задвоен (10 — Tunnels и 10 — Panic Room). |
| IBIPC-BNK-005 | EXTENDED INFANTRY BUNKER. FOR EIGHT RIFLEMEN, TO PROTECT A 10-MAN SQUAD. | PRODUCT | 16, 5 |  |
| IBIPC-BNK-006 | INTER-OPERATIONAL AMMUNITION DEPOT. TO STORE AMMO AT TRANSSHIPMENT POINTS. | PRODUCT | 17, 5 |  |
| IBIPC-BNK-007 | AMMO BUNKER. | PRODUCT | 18, 5 |  |
| IBIPC-BNK-009 | CLASS A HARDENED INFANTRY BUNKER. TO CONDUCT COMBAT OPERATIONS. | PRODUCT | 24, 26, 5 | Число модулей по плану (5 пролётов) — визуальная оценка. |
| IBIPC-BNK-010 | CLASS B HARDENED INFANTRY BUNKER. PERSONNEL PROTECTION. | PRODUCT | 25, 26, 5 |  |
| IBIPC-BNK-011 | COMMAND BUNKER. LEADING TACTICAL - OPERATIONAL CONTROL STATION. | PRODUCT | 28, 5 |  |
| IBIPC-BNK-020 | PANIC ROOM | PRODUCT | 5 | Только в перечне; страницы изделия нет. |
| IBIPC-BNK-021 | MILITARY DEFENSE BUNKER | PRODUCT | 5 | Только в перечне; страницы изделия нет. |
| IBIPC-BNK-022 | INVACUATION BUNKER | PRODUCT | 5, 38 | Только в перечне; страницы изделия нет. |
| IBIPC-BNK-023 | Emergency Shelter | PRODUCT | 38 | Упомянуто только в письме МО ЧР (стр. 38). |
| IBIPC-BNK-024 | Hardened safety bunker | PRODUCT | 38 | Упомянуто только в письме МО ЧР (стр. 38). |
| IBIPC-SHL-001 | UNDERGROUND SHELTERS. | PRODUCT | 22, 5 |  |
| IBIPC-SHL-002 | CIVIL DEFENCE SHELTERS. | PRODUCT | 27, 5 |  |
| IBIPC-SHL-003 | HARDENED AIRCRAFT SHELTERS. | PRODUCT | 29, 5 | GEOMETRY PARTIAL — ENGINEERING DATA REQUIRED. Размеров нет. |
| IBIPC-SYS-001 | BUNKER FOR GENERATORS OR COGENERATION UNITS. SITE FOR SECURE POWER DELIVERY. | PRODUCT | 23, 5 |  |
| IBIPC-SYS-003 | MODULAR CONTAINER DATA CENTERS | PRODUCT | 5 | Только в перечне. |
| IBIPC-TEC-003 | Robust gas-tight valve / regulatory flap – TEMP-A (square flange) | PRODUCT | 31 | TEMP_ID: точное наименование по каталогу не подписано индивидуально. Functional proxy; размеры не даны. |
| IBIPC-TEC-004 | Robust gas-tight valve / regulatory flap – TEMP-B (round flange, lever) | PRODUCT | 31 | TEMP_ID: точное наименование по каталогу не подписано индивидуально. Functional proxy; размеры не даны. |
| IBIPC-TEC-005 | Robust gas-tight valve / regulatory flap – TEMP-C (handwheel) | PRODUCT | 31 | TEMP_ID: точное наименование по каталогу не подписано индивидуально. Functional proxy; размеры не даны. |
| IBIPC-BAR-001-L | BALLISTIC CONCRETE BENCHES – LIGHT | VARIANT | 7 | Различие с HEAVY не указано |
| IBIPC-BAR-001-H | BALLISTIC CONCRETE BENCHES – HEAVY | VARIANT | 7 | Различие с LIGHT не указано |
| IBIPC-BAR-002-L | BALLISTIC CONCRETE FLOWER BOXES – LIGHT | VARIANT | 8 | Не раскрыто |
| IBIPC-BAR-002-H | BALLISTIC CONCRETE FLOWER BOXES – HEAVY | VARIANT | 8 | Не раскрыто |
| IBIPC-BAR-002-GP | BALLISTIC CONCRETE FLOWER BOXES – On ground-based plate (two-part) | VARIANT | 8 | Геометрия плиты основания не дана |
| IBIPC-WAL-002-S | MOBILE T - WALLS – Solid (no openings) | VARIANT | 32 | Показан только на фото |
| IBIPC-RDB-001-L | CONCRETE PYRAMID – LIGHT | VARIANT | 35 |  |
| IBIPC-RDB-002-UH | MOBILE ROADBLOCK – STING – UHPRC – HEAVY TANKS | VARIANT | 36 | Отдельная запись по материалу/классу угрозы |
| IBIPC-RDB-002-HC | MOBILE ROADBLOCK – STING – High-strength concrete – MIDDLE TANKS | VARIANT | 36 | Отдельная запись по материалу/классу угрозы |
| IBIPC-RDB-002-HS | MOBILE ROADBLOCK – STING – High-strength steel – COMBAT VEHICLES, TRUCKS | VARIANT | 36 | Отдельная запись по материалу/классу угрозы |
| IBIPC-RDB-002-PO | MOBILE ROADBLOCK – STING – High-strength steel – CARS (Police version) | VARIANT | 36, 43 | Отдельная запись по материалу/классу угрозы |
| IBIPC-STR-001-IID | UNIVERSAL CONSTRUCTION SEGMENT – TYPE II – as drawn on pp. 17/23/28 (3.6 × 3.6 m, wall 300 mm) | VARIANT | 17, 23, 28 | Не подтверждённый отдельный тип; уточнить у IBIPC DSC-005 |
| IBIPC-CAB-001-LC | TUNNELS TO PROTECT HIGH PRIORITY CABLES – LIGHT – CONVEX LID | VARIANT | 33 | Размеры по варианту не даны |
| IBIPC-CAB-001-LF | TUNNELS TO PROTECT HIGH PRIORITY CABLES – LIGHT – FLAT LID | VARIANT | 33 | Размеры по варианту не даны |
| IBIPC-CAB-001-HC | TUNNELS TO PROTECT HIGH PRIORITY CABLES – HEAVY – CONVEX LID | VARIANT | 33 | Размеры по варианту не даны |
| IBIPC-CAB-001-HF | TUNNELS TO PROTECT HIGH PRIORITY CABLES – HEAVY – FLAT LID | VARIANT | 33 | Размеры по варианту не даны |
| IBIPC-DOR-001-DD | SANDWICH BALLISTIC-RESISTANT DOORS. ARMORED AND CAST IN UHPFRC. – Double door (bulletproof, forklift loading) | VARIANT | 17 | Размеры не даны |
| IBIPC-DOR-001-LH | SANDWICH BALLISTIC-RESISTANT DOORS. ARMORED AND CAST IN UHPFRC. – Door with loopholes (Class A) | VARIANT | 24 | Геометрия бойниц не дана |
| IBIPC-DOR-001-GT | SANDWICH BALLISTIC-RESISTANT DOORS. ARMORED AND CAST IN UHPFRC. – Armored gas-tight / anti-pressure door | VARIANT | 25, 28 | Упоминается в тексте |
| IBIPC-BNK-006-S | INTER-OPERATIONAL AMMUNITION DEPOT. TO STORE AMMO AT TRANSSHIPMENT POINTS. – SHORT | VARIANT | 17 | Отдельный чертёж не показан |
| IBIPC-BNK-006-L | INTER-OPERATIONAL AMMUNITION DEPOT. TO STORE AMMO AT TRANSSHIPMENT POINTS. – LONG | VARIANT | 17 |  |
| IBIPC-SHL-003-F16 | HARDENED AIRCRAFT SHELTERS. – F-16 | VARIANT | 5 | Только в перечне (29) |
| IBIPC-SHL-003-F35 | HARDENED AIRCRAFT SHELTERS. – F-35 | VARIANT | 5 | Только в перечне (30) |
| DSC-001 |  | DISCREPANCY | 5 | Нумерация перечня: «TOTAL OF 30 PRODUCTS», но номера 10 и 20 повторяются (32 позиции); стр. 3 — «22 types»; стр. 38 — «up to 12 types». |
| DSC-002 |  | DISCREPANCY | 5, 38 | Позиции без страницы изделия: 08 Litter Bins, 10 Panic Room, 21 Military Defense Bunker, 22 Modular Container Data Centers, 23 Invacuation Bunker; стр. 38 — Emergency Shelter, Hardened safety bunker. |
| DSC-003 |  | DISCREPANCY | 5, 11, 20, 30, 31, 37 | Страницы изделий не в перечне: Universal Construction Segment, Sandwich Doors, Filtration units, Robust Components, Concrete Mixtures. |
| DSC-004 |  | DISCREPANCY | 5, 17, 34 | Разные названия: «Inter-operative ammunition bunker» / «Inter-operational ammunition depot»; «Ballistic shields to reinforce the building» / «Balistic plates». |
| DSC-005 |  | DISCREPANCY | 11, 17, 23, 28 | TYPE II: 3.4×3.4 м, стенка 0.2 м (стр. 11) vs чертежи 3600 / 3000 / 300 мм (стр. 17, 23, 28). |
| DSC-006 |  | DISCREPANCY | 18 | Ammo Bunker: 340 + 3×1990 = 6310 мм, указано 6130 мм. |
| DSC-007 |  | DISCREPANCY | 27 | Civil Defence Shelter: 340 + 5×1990 + 200 = 10490 мм, указано 10450 мм. |
| DSC-008 |  | DISCREPANCY | 35 | Pyramid LIGHT: объём 0.58 м³ больше HEAVY 0.47 м³ при массе 0.15 т (ожидаемо ≈0.058 м³). |
| DSC-009 |  | DISCREPANCY | 22, 30 | Firbach 100: inlet overpressure valve D125 (стр. 22) vs D120 (стр. 30). |
| DSC-010 |  | DISCREPANCY | 22 | Underground Shelter: избыточное давление 1.8 Pa — аномально мало. |
| DSC-011 |  | DISCREPANCY | 23 | Generator bunker: в тексте фильтр G3, на чертеже «Filter EU3». |
| DSC-012 |  | DISCREPANCY | 4, 38, 42 | Классы: каталог/сертификат A5, C4, D6; письмо МО ЧР — A5, D4, E6. |
| DSC-013 |  | DISCREPANCY | 36, 43 | Police STING: каталог — High-strength steel; сертификат — «Concrete panel (main surface)» и «Small Metal Roadblock». |
| DSC-014 |  | DISCREPANCY | 36 | STING heavy: «UHPRC» (возможно UHPFRC). |
| DSC-015 |  | DISCREPANCY | 9 | Ballistic Seat: сумма ячеек 1140 мм ≠ 1500 мм. |
| DSC-016 |  | DISCREPANCY | 17, 28 | Площади/объёмы: «24m³/72m³», «6 m²» (стр. 17), «18 m²» и «24m²/72m³» (стр. 28) не согласуются с 4000×3000; SHORT/LONG не показаны отдельно. |
| DSC-017 |  | DISCREPANCY | 29, 37, 41 | Прочность UHPFRC: 150 МПа (стр. 29), >165 МПа (стр. 37), 163.3 МПа тест (стр. 41). |
| DSC-018 |  | DISCREPANCY | 25, 26 | Class B: 152 мм (стр. 25) vs моделирование 155 мм (стр. 26). |
| DSC-019 |  | DISCREPANCY | 5, 29 | HAS F-16 / F-35 — только в перечне; на стр. 29 вариантов и размеров нет. |
| DSC-020 |  | DISCREPANCY | 5, 23 | Перечень: 24 Generators и 25 Cogeneration отдельно; в каталоге одна страница. |
| DSC-021 |  | DISCREPANCY | 11, 42 | Сертификат: базовая часть бункера 2400×2400×200; TYPE I — 2.4×2.5 м. |
| DSC-022 |  | DISCREPANCY | 9, 12, 13, 22, 27 | Часть подписей на чешском (Montážní otvor, prům., Zásoby, sklad, VÝŠKA). |
| DSC-024 |  | DISCREPANCY | 35 | Pyramid: L/H/W точно соответствуют правильному тетраэдру (ребро 1350 → H 1102, W 1169), но его объём 0.290 м³ ≠ табличные 0.47 м³ (MEDIUM 0.118 ≠ 0.27). Выявлено при построении 3D. |
| DSC-023 |  | DISCREPANCY | 4, 5, 30, 34, 38 | Опечатки: BALISTIC, MOBIL BUNKER, PATTREN, Rerd, HEIGHTH, HNADLE, INVACUATION, IBIBC. |

# 10. Evidence / Documents

| ID | Type | Pages | Description | Linked |
| --- | --- | --- | --- | --- |
| EV-001 | SOURCE_REFERENCE | 3 | Introductory word: NCAGE 8286G, NSN, STANAG 2280:2016, 22 types | ALL |
| EV-002 | CATALOG_GENERAL_CLAIM | 4 | STANAG 2280:2016 Ed.2 A5 / C4 / D6; STANAG 4569 Level IV glass & occupant protection | ALL bunkers / shelters / checkpoints |
| EV-003 | SOURCE_REFERENCE | 6 | Research & development: CTU Prague, University of Defence, Military Research Institute | ALL |
| EV-004 | CERTIFICATION | 11 | MoD CR registration BUNKR IBIPC No. S-22802016, MCN 0145410000544, ID A492H04BAYR6 | IBIPC-STR-001 |
| EV-005 | CERTIFICATION | 36 | MoD CR register FOLDING BARRIERS Matl. Class. No. 0144110901003, 0145450000003, 0145450000027 | IBIPC-RDB-002 |
| EV-006 | MINISTRY_REFERENCE | 38, 39 | MoD CR reference No. 490537/2024-1216 (17 June 2024): A5, D4, E6; NSN 5411160090335; up to 12 types | ALL bunkers |
| EV-007 | TEST_REPORT | 40, 41 | CTU Testing Laboratory 1048 – Test report 133 003/2021: compressive strength 163.3 ±7.1 MPa, density 2765 ±64 kg/m³ (6 specimens) | MAT-001 |
| EV-008 | CERTIFICATION | 42 | VVÚ Certificate 2280-011-2022 (Brno, 30 Jan 2023): UHPFRC A5, C4, D6 – Conditionally Compliant; sample 500×500×200, bunker part 2400×2400×200 | MAT-001, IBIPC-STR-001 |
| EV-009 | CERTIFICATION | 43 | VVÚ Certificate 2280-001-2025 (6 Nov 2025): Small Metal Roadblock (Police Type) KČM 014 545 000 0027 – E3 Conditionally Compliant | IBIPC-RDB-002-PO |
| EV-010 | TEST_EVIDENCE | 44 | Preparation of test plates and bunker element for blast & shrapnel tests (photos) | IBIPC-STR-001 |
| EV-011 | TEST_EVIDENCE | 45 | Photos: 12.7×99 API M8 / 14.5×114 API M32; 107 mm rocket / 120 mm mortar at 1.5 m; 20 kg TNT at 5 m | MAT-001 |
| EV-012 | STANDARD_REFERENCE | 46 | NATO STANAG 2280:2016 / ATP-3.12.1.8 classification table (A–E, levels 1–6) | ALL |
| EV-013 | TEST_EVIDENCE | 20 | Bunker door resistance test: 7.62×54R API, 7.62×51 AP8 (WC), 12.7×99 API M8, 14.5×114 API | IBIPC-DOR-001 |
| EV-014 | TEST_EVIDENCE | 17, 23, 28 | Shrapnel test: 120 mm mortar shell exploded on bunker ceiling (photos) | IBIPC-BNK-006, IBIPC-SYS-001, IBIPC-BNK-011 |
| EV-015 | SOURCE_REFERENCE | 29 | Excerpt from CTU report (Dept. of Concrete and Masonry Structures): 150 MPa / 15 MPa, A5/C4/D6, shielding | MAT-001, IBIPC-SHL-003 |
| EV-016 | PROJECT_SPECIFIC_DOCUMENT | 21 | Structural engineering report excerpt (project-specific) | IBIPC-SYS-002 |
| EV-017 | SIMULATION_CLAIM | 8 | Explicit numerical simulation: restrains 20 t truck at 100 km/h | IBIPC-BAR-002 |

# 11. Page-by-page Coverage / Покрытие каталога

| Page | Title | Type | Captured | Records |
| --- | --- | --- | --- | --- |
| 1 | Cover | COVER | N/A – cover |  |
| 2 | Cover (inner) | COVER | N/A – cover |  |
| 3 | INTRODUCTORY WORD | SOURCE_REFERENCE | YES | EV-001 |
| 4 | USE OF IBIPC PROTECTION ELEMENTS / PRODUCT LINE | GENERAL_CLAIM + APPEARANCE | YES | IBIPC-TEC-019, EV-002, MAT-013, APP-001, APP-002, APP-003, APP-004, APP-005, APP-006, APP-007, APP-008, APP-009 |
| 5 | SYSTEMATIC BREAKDOWN – TOTAL OF 30 PRODUCTS | PRODUCT_LIST | YES | IBIPC-BAR-001, IBIPC-BAR-002, IBIPC-BAR-004, IBIPC-BAR-005, IBIPC-WAL-001, IBIPC-WAL-002, IBIPC-RDB-001, IBIPC-RDB-002, IBIPC-STR-020, IBIPC-CAB-001, IBIPC-BNK-001, IBIPC-BNK-002, IBIPC-BNK-003, IBIPC-BNK-004, IBIPC-BNK-005, IBIPC-BNK-006, IBIPC-BNK-007, IBIPC-BNK-008, IBIPC-BNK-009, IBIPC-BNK-010, IBIPC-BNK-011, IBIPC-BNK-020, IBIPC-BNK-021, IBIPC-BNK-022, IBIPC-SHL-001, IBIPC-SHL-002, IBIPC-SHL-003, IBIPC-SYS-001, IBIPC-SYS-002, IBIPC-SYS-003, IBIPC-SHL-003-F16, IBIPC-SHL-003-F35, IBIPC-SYS-001-G, IBIPC-SYS-001-C |
| 6 | RESEARCH AND DEVELOPMENT | SOURCE_REFERENCE | YES | EV-003 |
| 7 | BALLISTIC CONCRETE BENCHES | PRODUCT | YES | IBIPC-BAR-001, IBIPC-BAR-001-L, IBIPC-BAR-001-H |
| 8 | BALLISTIC CONCRETE FLOWER BOXES | PRODUCT | YES | IBIPC-BAR-002, IBIPC-BAR-003, IBIPC-BAR-002-L, IBIPC-BAR-002-H, IBIPC-BAR-002-FS, IBIPC-BAR-002-GP, EV-017 |
| 9 | BALLISTIC SEATS | PRODUCT | YES | IBIPC-BAR-004 |
| 10 | BALLISTIC WALLS | PRODUCT | YES | IBIPC-WAL-001 |
| 11 | UNIVERSAL CONSTRUCTION SEGMENT | PRODUCT + CERTIFICATION | YES | IBIPC-STR-001, IBIPC-STR-012, IBIPC-STR-001-I, IBIPC-STR-001-II, EV-004 |
| 12 | CHECKPOINTS | ASSEMBLY | YES | IBIPC-STR-010, IBIPC-STR-011, IBIPC-STR-013, IBIPC-STR-014, IBIPC-STR-016, IBIPC-BNK-001 |
| 13 | MOBILE BUNKERS | ASSEMBLY | YES | IBIPC-STR-010, IBIPC-STR-011, IBIPC-STR-013, IBIPC-STR-014, IBIPC-STR-015, IBIPC-STR-016, IBIPC-BNK-002, IBIPC-BNK-002-2S, IBIPC-BNK-002-3S |
| 14 | BASIC INFANTRY BUNKER | ASSEMBLY | YES | IBIPC-STR-013, IBIPC-STR-014, IBIPC-BNK-003 |
| 15 | EXTENDED INFANTRY BUNKER – 4 RIFLEMEN | ASSEMBLY | YES | IBIPC-STR-013, IBIPC-STR-014, IBIPC-BNK-004 |
| 16 | EXTENDED INFANTRY BUNKER – 8 RIFLEMEN | ASSEMBLY | YES | IBIPC-STR-013, IBIPC-STR-014, IBIPC-BNK-005 |
| 17 | INTER-OPERATIONAL AMMUNITION DEPOT | ASSEMBLY + TEST | YES | IBIPC-STR-017, IBIPC-BNK-006, IBIPC-STR-001-IID, IBIPC-DOR-001-DD, IBIPC-BNK-006-S, IBIPC-BNK-006-L, EV-014 |
| 18 | AMMO BUNKER | ASSEMBLY | YES | IBIPC-BNK-007 |
| 19 | MEDIC BUNKER | ASSEMBLY | YES | IBIPC-BNK-008 |
| 20 | SANDWICH BALLISTIC-RESISTANT DOORS | COMPONENT + TEST | YES | IBIPC-DOR-001, IBIPC-DOR-001-S, EV-013, MAT-003, MAT-004 |
| 21 | CUSTOM-MADE BUNKER CASTING | TEMPLATE | YES | IBIPC-SYS-002, EV-016 |
| 22 | UNDERGROUND SHELTERS / FIRBACH 100 | ASSEMBLY + EQUIPMENT | YES | IBIPC-STR-015, IBIPC-DOR-002, IBIPC-SHL-001, IBIPC-VEN-002, IBIPC-TEC-008, IBIPC-TEC-014, IBIPC-TEC-015, IBIPC-TEC-017, IBIPC-TEC-020, IBIPC-TEC-021, MAT-009 |
| 23 | BUNKER FOR GENERATORS OR COGENERATION UNITS | ASSEMBLY + EQUIPMENT | YES | IBIPC-SYS-001, IBIPC-TEC-009, IBIPC-TEC-010, IBIPC-TEC-011, IBIPC-TEC-012, IBIPC-TEC-013, IBIPC-TEC-015, IBIPC-TEC-016, IBIPC-STR-001-IID, IBIPC-SYS-001-G, IBIPC-SYS-001-C, EV-014 |
| 24 | CLASS A HARDENED INFANTRY BUNKER | ASSEMBLY | YES | IBIPC-BNK-009, IBIPC-DOR-001-LH |
| 25 | CLASS B HARDENED INFANTRY BUNKER | ASSEMBLY | YES | IBIPC-BNK-010, IBIPC-TEC-008, IBIPC-DOR-001-GT |
| 26 | CLASS A & B HARDENED INFANTRY BUNKER | ASSEMBLY (description) | YES | IBIPC-BNK-009, IBIPC-BNK-010 |
| 27 | CIVIL DEFENCE SHELTERS | ASSEMBLY | YES | IBIPC-STR-010, IBIPC-STR-011, IBIPC-STR-015, IBIPC-STR-016, IBIPC-SHL-002 |
| 28 | COMMAND BUNKER | ASSEMBLY + TEST | YES | IBIPC-STR-017, IBIPC-BNK-011, IBIPC-TEC-018, IBIPC-STR-001-IID, IBIPC-DOR-001-GT, EV-014 |
| 29 | HARDENED AIRCRAFT SHELTERS | CONCEPT + MATERIAL DATA | YES | IBIPC-SHL-003, EV-015, MAT-001 |
| 30 | FILTRATION AND AIR HANDLING UNITS | EQUIPMENT | YES | IBIPC-VEN-002, IBIPC-VEN-003, IBIPC-VEN-005, IBIPC-VEN-006 |
| 31 | ROBUST COMPONENTS FOR COMBAT USE | EQUIPMENT | YES | IBIPC-VEN-001, IBIPC-VEN-004, IBIPC-VEN-005, IBIPC-TEC-001, IBIPC-TEC-002, IBIPC-TEC-003, IBIPC-TEC-004, IBIPC-TEC-005, IBIPC-TEC-006, IBIPC-TEC-007 |
| 32 | MOBILE T-WALLS | PRODUCT | YES | IBIPC-WAL-002, IBIPC-STR-013, IBIPC-TEC-019, IBIPC-WAL-002-S, IBIPC-WAL-002-E |
| 33 | TUNNELS TO PROTECT HIGH PRIORITY CABLES | PRODUCT | YES | IBIPC-CAB-001, IBIPC-CAB-001-LC, IBIPC-CAB-001-LF, IBIPC-CAB-001-HC, IBIPC-CAB-001-HF |
| 34 | BALISTIC PLATES | PRODUCT | YES | IBIPC-STR-020, IBIPC-STR-020-L, IBIPC-STR-020-H |
| 35 | CONCRETE PYRAMID | PRODUCT | YES | IBIPC-RDB-001, IBIPC-RDB-010, IBIPC-RDB-011, IBIPC-RDB-001-H, IBIPC-RDB-001-M, IBIPC-RDB-001-L |
| 36 | MOBILE ROADBLOCK – STING | PRODUCT + CERTIFICATION | YES | IBIPC-RDB-002, IBIPC-RDB-002-UH, IBIPC-RDB-002-HC, IBIPC-RDB-002-HS, IBIPC-RDB-002-PO, EV-005 |
| 37 | CONCRETE MIXTURES | MATERIAL | YES – Material Record | MAT-002 |
| 38 | MoD CR – References (1/2) | MINISTRY_REFERENCE | YES – Evidence | IBIPC-BNK-022, IBIPC-BNK-023, IBIPC-BNK-024, EV-006 |
| 39 | MoD CR – References (2/2) + photo | MINISTRY_REFERENCE | YES – Evidence | EV-006 |
| 40 | CTU Test Report 133 003/2021 (cover) | TEST_REPORT | YES – Evidence | EV-007 |
| 41 | CTU Test Report 133 003/2021 (results) | TEST_REPORT | YES – Evidence | EV-007, MAT-001 |
| 42 | VVÚ Certificate 2280-011-2022 | CERTIFICATE | YES – Evidence | IBIPC-STR-001, EV-008, MAT-001 |
| 43 | VVÚ Certificate 2280-001-2025 | CERTIFICATE | YES – Evidence | IBIPC-RDB-002, IBIPC-RDB-002-PO, EV-009 |
| 44 | YOUR SAFETY IS OUR HIGHEST PRIORITY – test preparation | TEST_EVIDENCE | YES – Evidence | IBIPC-STR-001, EV-010 |
| 45 | TESTED AND CERTIFIED BY MRI – test photos | TEST_EVIDENCE | YES – Evidence | EV-011 |
| 46 | NATO STANAG 2280:2016 table | STANDARD_REFERENCE | YES – Evidence | EV-012 |
| 47 | Back cover (photo) | COVER | N/A – cover |  |
| 48 | Back cover (photo) | COVER | N/A – cover |  |

# 12. Recommendations for 3D stage / Рекомендации к этапу 3D

Тестовый набор (Deliverable 2) подтверждён данными каталога: UCS TYPE I (полные данные, стр. 11), Mobile T-Wall (полный чертёж, стр. 32), Ballistic Plate LIGHT (стр. 34), Concrete Pyramid HEAVY (таблица, стр. 35), Basic Infantry Bunker (сборка 1 × TYPE I + 2 крышки, стр. 14).

До моделирования закрыть вопросы DSC-005 (TYPE II 3.4 vs 3.6 м), DSC-006/007 (длины цепочек), DSC-008 (объём LIGHT), а также толщины крышек 340/200 мм (LID I / LID II).

Сегмент моделировать как параметрический объект (L, внутренние W×H, стенка t, joint profile); крышки, двери, амбразуры и щели — отдельными объектами с snap points front_joint / rear_joint / door_frame_anchor.

Сборки хранить только иерархией (assemblies[]): BOM, масса и логистика считаются из компонентов; монолитные меши не использовать.

Technical equipment (Firbach, VA 300, клапаны) — functional proxy по габаритам (если даны), LOD2 — бокс, LOD1 — упрощённая форма.

Placeholder-записи (Litter Bins, Panic Room, Military Defense Bunker, Data Centers, Invacuation, Emergency Shelter, Hardened safety bunker) не моделировать до получения исходных данных от IBIPC.

Массы не вычислять из объёма: плотность для изделий в каталоге не задана (2765 кг/м³ — только образцы; TEST_REPORT_CONFIRMED).

Модуль IBIPC подключать как изолированное расширение каталога W-FORTEX: новые ID с префиксом IBIPC-, существующие ID, проекты и симулятор не меняются.